CITY OF ELKO

COMMERCIAL FIXTURE UNIT SURVEY FOR WATER AND SEWER BILLING

| Business Name: | Date: |
| --- | --- |
| Address: | Hours of Business: |
| Billing Address: | Surveyed By: |
| Type of Business: | Accompanied By: |
| DESCRIPTION OF FIXTURE | NUMBER OF UNITS | FIXTURE VALUE PER UNIT | TOTAL WATER FIXTURE UNITS | TOTAL SEWER FIXTURE UNITS |
| Bathroom group Water closet-sink-bathtub and/or shower |  | 14 |  |  |
| with flushometer |  | 18 |  |  |
| Bathtub (with or without shower) |  | 4 |  |  |
| Bidet |  | 4 |  |  |
| Bedpan washer and sterilizer |  | 5 |  |  |
| Car wash per stall |  | 24 |  |  |
| Recycled |  | 16 |  |  |
| Dental unit cuspidor |  | 2 |  |  |
| Dental unit lavatory |  | 2 |  |  |
| Dishwashers Conveyor |  | 100 |  |  |
| Undercounter |  | 10 |  |  |
| Residential |  | 8 |  |  |
| Disposals |  | 50 |  |  |
| Drinking fountains |  | 2 |  |  |
| Floor drains |  | 4 | XXXXX |  |
| Grease, oil, solids |  | 6 | XXXXX |  |
| Laundry-tub and faucets |  | 4 |  |  |
| Clothes washer |  | 4 |  |  |
| Automatic 8 pound |  | 16 |  |  |
| 12-19 pound |  | 20 |  |  |
| 20-39 pound |  | 22 |  |  |
| 40-50 pound |  | 24 |  |  |
| 50 plus per pound of machine weight |  | 1.5 |  |  |
| Receptors for refrigerators, coffee urn, soft drinks, ice machines, etc... |  | 2 |  |  |
| Showers per head and drain |  | 4 |  |  |
| Sinks: Bar |  | 2 |  |  |
| Flushing rim (clinic) |  | 12 |  |  |
| Industrial-washup, etc... |  | 6 |  |  |
| Kitchen |  | 4 |  |  |
| Lavatory |  | 2 |  |  |
| Trailer parks Dump Station |  | 25 |  |  |
| Recreational vehicle park per pad |  | 7 |  |  |

CITY OF ELKO

COMMERCIAL FIXTURE UNIT SURVEY FOR WATER AND SEWER BILLING

| DESCRIPTION OF FIXTURE | NUMBER OF UNITS | FIXTURE VALUE PER UNIT | TOTAL WATER FIXTURE UNITS | TOTAL SEWER FIXTURE UNITS |
| --- | --- | --- | --- | --- |
| Urinals: Pedestal-siphon |  | 12 |  |  |
| Stall |  | 4 |  |  |
| Wall |  | 4 |  |  |
| Trough per 2 feet |  | 6 |  |  |
| Water closet Tank |  | 8 |  |  |
| Flush valve |  | 12 |  |  |
| For fixture types not listed, fixture units shall be estimated by using similar use and performance. DESCRIPTION: Hose bibs |  | 2 |  | XXXXX |
| Landscaping per 1000 square feet |  | 12 |  |  |
| Water for cooling per ton |  | 15 |  |  |
| Swimming pool per 100 square feet |  | 5 |  |  |
| SUBTOTAL: |  |  |
| GROSS ADJUSTMENT FACTOR, DOCUMENT BELOW—MULTIPLIER |  |  |
| TOTAL FOR BILLING |  |  |

| SPECIAL ADJUSTMENTS | Provide narrative and/or calculations used to arrive at special adjustment, i.e. seasonal use of water for cooling estimated at 5/12 of year = 0.42 adjustment |
| --- | --- |
| GROSS ADJUSTMENT FACTOR: | Provide narrative and/or calculation use to arrive at gross adjustments, i.e. closed four months of year – 8/12 = 0.75 adjustment. Use of any facility in excess of 12 (twelve) hours requires an adjustment factor of 1.5. |
| OTHER REMARKS | Document unusual conditions for subsequent investigation, i.e. clear water to sewer, roof drain to sewer, etc. . . |
| WATER METER FEES: meter cost |
| Meter Size: W/MXU Installation | WATER FIXTURE UNIT FEE |
| ¾” Service $405 + $25 | $430.00 $61.34 per unit |
| 1” Service $455 + $25 | $480.00 |
| 1½” Service $785 + $25 | $810.00 SEWER FIXTURE UNIT FEE |
| 2” Service $1,065 + $25 | $1,090.00 $82.40 per unit |
| WATER TAPPING FEES: |
| ¾” Service | $460.00 |
| 1” Service | $518.00 |
| 1½” Service | $920.00 |
| 2” Service | $1,150.00 |
| PAVEMENT CUTTING AND REPLACEMENT FEE |
|  | See Street Department for fee amounts and requirements. |